## Slide 1: Benchmarking the Power Usage of Network Devices
Prague, Nov. 4 - 10, 2023
NC State University
IETF 118
Carlos Pignataro
ETH Zürich
Romain Jacob

## Slide 2: We started a draft 10 years ago, it’s high time we finish it!
Defining this is non-trivial!
That’s why we need a benchmark...
The only data we get from manufacturers is usually “max power”
Hardly any device runs at its maximum capacity
We have a poor understanding of the “typical” power usage today
Few measurements are available, Most are 10+ years old

## Slide 3: The high-level goal is to model power usage better. The challenge lies in the details...
What are the useful loads to measure?
100% idle
Some in-between loads
Fully loaded
What does “idle” mean w.r.t.
Port configuration?
Control plane state?
What approach is best suited?
Black-box measurement of the entire device
Additive measurement of logical modules
Mix of both
The benchmark must strike a trade-off between
Feasibility of the measurements
Generality of the method
Accuracy of the resulting model

## Slide 4: Feedback and contributors are more than welcome!
Which benchmarking approach do you think is best?

Help welcome!
Do you think such a benchmark is useful for the e-impact work?
Do you you have ideas / data / time to contribute to this project?

## Slide 5: Benchmarking the Power Usage of Network Devices
Climate stripes.
2018
1850
portrays the increase of average global temperature
Ed Hawkins, 2018
Prague, Nov. 4 - 10, 2023
IETF 118
Carlos Pignataro
Romain Jacob
jacobr@ethz.ch

cpignata@gmail.com
